## Slide 1: AST10401 Introduction to Electrical Engineering
6. AC circuits
(Alternating Current circuits)

## Slide 2: AC Sources
An AC source is a voltage or current source that generates a time varying voltage or current in the form of a sine or cosine function.
where
Vm = the amplitude of AC voltage
ω = the angular frequency in radians/s
Ф = the phase in degree or radians
+Ф means shifted to left by Ф,
-Ф means shifted to right by Ф.
~

## Slide 3: DC vs AC Voltage
V(t)
t
V(t)
t
+
_
~
V(t)
V(t)
0V
0V
A DC source voltage gives a constant voltage.
An AC source voltage gives a sinusoidal voltages.
Vs
Vs
v(t) = Vm sin(wt)
v(t) = Vm sin(wt)

## Slide 4: AC signals
An AC voltage or current is periodic. It repeats a cycle for every T sec., where T is the period of the AC signal (i.e. time take to complete a cycle)
Frequency in Hz
Period
Angular frequency
Frequency is the number of repeated cycles per second
AC voltages or AC currents
v(t) = Vm sin(wt)

## Slide 5: AC signals
V(t)
t
1 cycle
1s
Frequency f = 1/(1/3) = 3Hz (3 cycles per sec)
……
……
1
-1
v(t) = Vm sin( 2pf t + Ф) = sin( 2p(3)t )
1s
1/3 s
2/3 s
Period T = 1/3 s
e.g.
A basic unit of a sine function
Angular Freq. w = 2pf = 2p(3)

## Slide 6: Important Relationships
Recalled the following relationships

## Slide 7: Phasors
A phasor is a Complex Number that represents the Amplitude and Phase of an AC signal.
A complex number can be represented in one of the following 2 forms:
Rectangular
Polar
where
Shorthand:

## Slide 8: Phasors
Given that z1 = x1 + jy1 = =
and z2 = x2 + jy2
The mathematic operations of complex numbers:
Addition
Subtraction
Multiplication
Division

## Slide 9: Phasors
Given an AC signal ,
V is the Phasor Representation of the AC signal v(t).
=
Let V =
=
V summarizes 2 important information of the AC signal v(t):
Both Amplitude and Phrase Angle of the AC signal v(t).

## Slide 10: Phasors
Given an AC signal in cosine form: , we can easily obtain its phasor form by extracting its amplitude and phase angle and put them together in the Polar Form shorthand.
Given a phasor form: and the system angular frequency , we can also easily convert to its time domain form by extracting its amplitude and phase angle and put them into a cosine form.
V =
Time domain form
Phasor domain form
V =
V =
Time domain form
Phasor domain form

## Slide 11: Phasors
Example
Find the phasor forms of the following AC signals.
a) i(t) = 6cos(50t – 40o)
b) v(t) = – 4sin(30t + 50o)
Solution:
a) I
b) Since –sin(x) = cos(x + 90º);
v(t) = 4cos((30t + 50º) + 90º) = 4cos(30t + 140º)
Transform to phasor V

## Slide 12: Adding AC Signals
Example: Find vs(t) = v1(t) + v2(t)
Note that
So
Complicated Formulae!
Two cosine function with same w.

## Slide 13: Adding AC Signals in Phasors
Example: Find vs(t) = v1(t) + v2(t)
Rectangular to Polar

## Slide 14: Comparing Signal and Phasor
The differences between v(t) and V:
v(t) is time-domain representation.
V is phasor-domain representation.
v(t) is always real, V is generally complex.
v(t) is changing with time, V is fixed.
Note:
Phasor analysis can only be applied when
a) the system frequency is a constant.
b) all AC sources are having the same frequency.

## Slide 15: Impedance
When there is an AC voltage v(t) across an electrical device then there is an AC current i(t) passing through it.
The Impedance Z of an electrical device is defined as the ratio of the voltage phasor V to the current phasor I, measured in ohms W.
v(t)
i(t)
V
I
AC signals
Phasors
where R = Re{Z} called the resistance and X = Im{Z} called the reactance.
Z

## Slide 16: Impedance – Resistors
Impedance of a Resistor:
Consider Ohm’s Law in phasor form:
Phasor form:
R
+
vR(t)
–
iR(t)
Re
Im
VR
IC
IR
Ф

## Slide 17: Impedance – Capacitor
Impedance of a Capacitor:
Phasor form:
C
+
vC(t)
–
iC(t)
Re
Im
VC
IC
Ф
Vm , w and Ф are fixed

## Slide 18: Impedance – Capacitor
Current leads Voltage by 90o
90o or t = p/2
Vc(t)
ic(t)
C
+
vC(t)
–
iC(t)
Shift L by 90o

## Slide 19: Impedance – Inductor
Impedance of an Inductor:
Phasor form:
L
+
vL(t)
–
iL(t)
Re
Im
IL
VL
Ф
Im , w and Ф are fixed

## Slide 20: Impedance – Inductor
90o or t = p/2
Voltage leads Current by 90o
L
+
vL(t)
–
iL(t)
Shift L by 90o
VL(t)
iL(t)

## Slide 21: Impedance
+
L
–
+
C
–
+
R
–
Impedance of resistors, capacitors and inductors
A “larger” impedance tends to allow less AC current flow in an elements for a given AC voltage.
V
I
Z

## Slide 22: Phasor form of KVL
Let v1(t), v2(t), … , vn(t) be the AC voltages of electrical components around a closed loop, as KVL holds for all time, we have
It is found that KVL also holds for phasors:
KVL in phasor version
+ v1(t) -
+
v2(t)
-
-
v3(t)
+
+ V1 -
+
V2
-
-
V3
+
Time Domain Circuit
Phasor Domain Circuit

## Slide 23: Phasor form of KCL
Let i1(t), i2(t), … , in(t) be the AC currents entering a node in a circuit, as KCL holds all the time, we have
It is found that KCL also holds for phasors:
i2(t)
i3(t)
i1(t)
KCL in phasor version
I2
I3
I1
Time Domain Circuit
Phasor Domain Circuit

## Slide 24: Combining Impedances
Consider the N-series connected impedances.
The same current I flows through the impedances, applying KVL around the loop gives:
V
I
Z

## Slide 25: Combining Impedances
Consider the N-parallel connected impedances.
The same voltage V across the impedances, applying KCL at the top node gives:
V
I
Z

## Slide 26: Combining Impedances
Find v(t) and i(t) in the circuit
V
I
Z

## Slide 27: Combining Impedances
The voltage across the capacitor is
Converting phasors I and V to their AC signals