## Slide 1: AST10401 Introduction to Electrical Engineering
8. AC power and Three-phase Circuits

## Slide 2: Instantaneous power
A load
with
impedance
Z
Where
The instantaneous power p(t) of a load with impedance Z is given by
Suppose we have an AC circuit as follows:

## Slide 3: Instantaneous power
We apply the Product to Sum formula:
The instantaneous power p(t) of the load becomes
Constant
A Cosine function
(time-varying)
A
B

## Slide 4: Average Power
The Average Power P of the load with impedance Z is given by
The Average Power depends on the Phase Difference between voltage and current.
Note that is a constant, so its Time Average value is
is a cosine function. The Time Average Value
of it is zero!
Constant
A Cosine function
(time-varying)

## Slide 5: Impedance – Resistors
Impedance of a Resistor:
Consider Ohm’s Law in phasor form:
Phasor form:
R
+
vR(t)
–
iR(t)
Re
Im
VR
IC
IR
Ф

## Slide 6: Impedance – Capacitor
Impedance of a Capacitor:
Phasor form:
C
+
vC(t)
–
iC(t)
Re
Im
VC
IC
Ф

## Slide 7: Impedance – Inductor
Impedance of an Inductor:
Phasor form:
L
+
vL(t)
–
iL(t)
Re
Im
IL
VL
Ф

## Slide 8: Average Power
If the load is a resistor,
If the load is a capacitor,
If the load is an inductor,
On Average, a capacitor and inductor DO NOT Absorb or Supply power.
On Average, a resistor always absorbs power.
(Inductor voltage leads inductor current by 90o)
(Cap current leads Cap voltage by 90o)
A load
with
impedance
Z

## Slide 9: Power Factor
The average power P of a general load with impedance Z is given by
Based on this expression, we define a number called the Power Factor of a load with impedance Z.
Power Factor (PF) of a load with impedance Z is the cosine of phase difference between voltage and current of the load.
If the load is a resistor, PF = 1
If the load is a capacitor or inductor, PF = 0

## Slide 10
Three-phase Circuits

## Slide 11: Three-phase Circuits
A three-phase circuit is a circuit with three AC voltage sources having the same amplitude and frequency but out of phase with each other by 120° and each phase has a load.
Three AC sources with 120° out
of phase
neutral wire
Phase difference between any 2 voltage sources is 120° .
Each Sub-circuit is called a Phase.

## Slide 12: Three-phase Circuits
Three-phase circuit sources
A common node
Same amplitude and frequency but out of phase with each other by 120°

## Slide 13: Three-phase Circuits
Three-phase circuit load
A common node

## Slide 14: Three-phase Circuits
Three-phase circuit source
Three-phase circuit load
A balanced load is one in which the all 3 impedances are equal (i.e. Z1 = Z2 = Z3).
A balanced voltage source has three AC sources with equal amplitude but are out of phase with each other by 120°.

## Slide 15: Balanced Three-phase Circuits
A balanced three-phase circuit is a three-phase system with a balanced voltage source and a balanced load.
the neutral wire

## Slide 16: Balanced Three-phase Circuits
Assume that
1st phase
2nd phase
3rd phase

## Slide 17: Balanced Three-phase Circuits
We can analyze a three-phase circuit on “per phase” basis:
B
C
b
c
Vbn
Vcn
Ia
Ib
Ic
Van

## Slide 18: Balanced three-phase Circuits
Apply KCL at node N
The neutral wire current In = 0
18

## Slide 19: Balanced three-phase circuits
As there is no current in the neutral line for a balanced three-phase circuit, the neutral line is usually removed in a balanced three-phase circuit.

## Slide 20: Balanced three-phase circuits
Example
Calculate the currents in the balanced three-phase circuit shown below:
Adopt “per-phase” approach

## Slide 21: Power in a Balanced Circuit
Consider the Total Instantaneous Power of the loads p(t) in a balanced three-phase circuit.
where

## Slide 22: Power in a Balanced Circuit
The instantaneous power is given by
By applying the trigonometry identity
The instantaneous power becomes
It is a constant which only depends on the phase different between voltage and current.

## Slide 23: Advantages of Three-phase Circuits
The total instantaneous power of the loads in a balanced three-phase system is a constant.
b
Vm
Im
In a single phase system, the instantaneous power of the load is time-varying.

## Slide 24: Advantages of Three-phase Circuits
The amount of power cable required for a balanced three-phase circuit to connect to the loads is less than that required for an equivalent single-phase system.
Need only 3 power cables

## Slide 25: Advantages of Three-phase Circuits
The equivalent single-phase system totally needs 6 power cables!
B
C
b
c
Vbn
Vcn
Ia
Ib
Ic
Van
Needs 4 cables